## TOC
Test PS360 Feature
PS360
img

## TESTPS360FEATURE
Test PS360 Feature
|  | Given | I sent a report to Powerscribe server using HL7 simulator
|  | And | I am logged in as 'Radiologist'
|  | And | Powerscribe client is launched and minimized
67388_67389 Verify that Powerscribe client minimizes when study is minimized
|  | Given | I opened study for the Accession 'A12861#'
|  | And | I dictated the study
|  | And | Powerscribe client displayed the existing report
|  | And | I launched Patient Folder in restore mode
|  | When | I 'minimize' the study
|  | Then | Powerscribe client shall 'minimize'
45436_45437 Verify that Powerscribe360 client logs out when user logs out of UV.
|  | Given | I opened study for the Accession 'A45436#'
|  | And | I dictated the study
|  | And | Powerscribe client displayed the existing report with 'report text'
|  | When | I close the study
|  | And | log out of study list
|  | Then | Powerscribe client shall log out and 'close'.
12871 _Verify that study is dictated when report is saved as Draft.
|  | Given | I opened study for the Accession 'A12871#'
|  | When | I dictate the study
|  | And | I create a draft with the text 'Draft created'
|  | Then | report shall be saved as 'Draft'
|  | And | Powerscribe client shall 'minimize'
|  | And | the study shall be marked as Dictated in the studylist
56999_57003 Verify the Powerscribe client behaviour on study launch based on Autolaunch Dictation setting
|  | Given | I '<enabled_option>' Autolaunch Dictation
|  | When | I open study for the Accession 'A56999#'
|  | Then | Powerscribe client shall '<launch_behavior>' with the report section for the 'A56999#'
Examples
|  |  | Enabled_option | launch_behavior
|  |  | Enable | Launch
|  |  | Disable | Not launch
57004 Verify that when Autolaunch Dictation is un- checked Powerscribe will launch only on dictating the study
|  | Given | I disabled 'Autolaunch Dictation'
|  | When | I open study for the Accession 'A57004#'
|  | And | I dictate the study
|  | Then | Powerscribe client shall be launched with the report section for the 'A57004#'
12862 Verify that Powerscribe creates a temporary order if report is not available in Powerscribe.
|  | Given | I opened study absent in PS worklist for the Accession 'A12862#'
|  | And | I dictated the study
|  | When | I confirm creation of temporary order
|  | And | I create and save the report with text 'Temporary order'
|  | Then | Powerscribe client shall display the report status as 'Draft'.
|  | And | Draft section count shall be '1'
57005 Verify Auto Close of Viewer on PS report signoff when Close Viewer on signoff is Checked
|  | Given | I 'enable' Autolaunch Dictation
|  | And | I 'enable' Closer Viewer on Signoff
|  | When | I open study for the Accession 'A57005#'
|  | And | Powerscribe client is launched with the report section for the 'A57005#'
|  | And | I create and sign the report with text ' Report created'
|  | And | provide the password for the user
|  | Then | the study will close after the signing the report
|  | And | Powerscribe client shall 'minimize'.
57007 Verify Viewer does not close on Discard of PS report when Close viewer on Signoff is Checked
|  | Given | I 'enable' Autolaunch Dictation
|  | And | I 'enable' Closer Viewer on Signoff
|  | When | I open study for the Accession 'A57007#'
|  | And | I 'create and discard' the report with text 'Sign Report'
|  | Then | I shall be able to discard the report on accepting the delete message
|  | And | Powerscribe client shall 'minimize'
|  | And | the study shall not close
57006 Verify Closing of viewer on Signoff of PS report for a study launched through Dictate icon, when Close Viewer on Signoff is Checked
|  | Given | I 'disable' Autolaunch Dictation
|  | And | I 'enable' Close Viewer on Signoff
|  | And | I opened study for the Accession 'A57006#'
|  | When | I dictate the study
|  | And | I 'create and sign' the report with text ' Report created'
|  | And | provide the password for the user
|  | Then | the study will close after the signing the report.
57008 Verify Viewer is not closed on signing report as preliminary in PS when Close viewer on Signoff is Checked
|  | Given | I 'enable' Autolaunch Dictation
|  | And | I 'enable' Closer Viewer on Signoff
|  | When | I open study for the Accession 'A57008#'
|  | And | I create and sign the report as Preliminary with text ' Preliminary report created'
|  | Then | Powerscribe client shall 'minimize'
|  | And | the study shall not close